## Comparison
Region | Type | Representative city | Rep. city lat (N) | Rep. city lon (E) | Rep. city elevation (m) | Region lat min (N) | Region lat max (N) | GHI min (kWh/m2/day) | GHI max (kWh/m2/day) | GHI midpoint (kWh/m2/day) | Yield min (kWh/kWp/yr) | Yield max (kWh/kWp/yr) | Yield midpoint (kWh/kWp/yr) | Rainfall min (mm/yr) | Rainfall max (mm/yr) | Peak summer temp (C) | Tilt min (deg) | Tilt max (deg) | Best months | Worst months | Main constraint
Maharashtra | State | Pune | 18.52 | 73.86 | 560 | 15.6 | 22 | 4.8 | 5.8 | 5.3 | 1450 | 1600 | 1525 | 500 | 3000 | 47 | 18 | 20 | Feb-May | Jun-Sep | Monsoon cloud; coastal corrosion
Gujarat | State | Ahmedabad | 23.02 | 72.57 | 50 | 20.1 | 24.7 | 5.3 | 6 | 5.65 | 1550 | 1650 | 1600 | 300 | 2000 | 47 | 20 | 23 | Feb-May, Oct-Nov | Jul-Aug | Dust; cyclones; Kutch seismic Zone V
Rajasthan | State | Jodhpur | 26.24 | 73.02 | 230 | 23 | 30.1 | 5.8 | 6.5 | 6.15 | 1600 | 1750 | 1675 | 100 | 800 | 50 | 25 | 28 | Mar-May, Oct | Jul-Aug | Soiling; water scarcity; heat derating
Karnataka | State | Bengaluru | 12.97 | 77.59 | 920 | 11.5 | 18.5 | 5.2 | 5.8 | 5.5 | 1450 | 1600 | 1525 | 500 | 4000 | 43 | 12 | 15 | Feb-May | Jun-Sep | Monsoon cloud; coastal humidity
Telangana | State | Hyderabad | 17.39 | 78.49 | 540 | 15.8 | 19.9 | 5.3 | 5.8 | 5.55 | 1450 | 1600 | 1525 | 700 | 1200 | 47 | 15 | 18 | Feb-May | Jul-Aug | Summer heat derating
Ladakh (Leh) | Union Territory | Leh | 34.15 | 77.58 | 3500 | 32 | 36 | 5.5 | 6.5 | 6 | 1600 | 1800 | 1700 | 100 | 100 | 30 | 30 | 40 | Mar-Oct | Dec-Jan | Snow; altitude logistics; seismic Zone IV-V
All-region average | [9 empty] | 5.6917 |  |  | 1591.6667
Highest yield midpoint (region) | [12 empty] | Ladakh (Leh)
Lowest yield midpoint (region) | [12 empty] | Maharashtra
Legend: blue = input values (approximate, compiled for project use); black = formulas. Midpoints are simple averages of min and max. Rainfall max for Karnataka/Maharashtra reflects coastal and Ghats zones. Verify against Global Solar Atlas, NASA POWER, IMD, NIWE.

## Geography
Region | Type | Area (approx km2) | Latitude range (N) | Representative city / elevation | Main regions and terrain | Seismic zone (approx) | Land and site notes
Maharashtra | State | 307700 | 15.6 - 22.0 | Pune (18.52 N, 73.86 E), about 560 m | Konkan coast; Western Ghats (Sahyadri); Deccan plateau (Western Maharashtra, Marathwada); Vidarbha | Mostly II-III; Koyna area IV | Dense industrial belts (Pune, Nashik, Chhatrapati Sambhajinagar, Nagpur) good for rooftop; utility land easier in Marathwada and Vidarbha
Gujarat | State | 196000 | 20.1 - 24.7 | Ahmedabad (23.02 N, 72.57 E), about 50 m | Kutch (arid, Great and Little Rann); Saurashtra peninsula; North Gujarat plains; Central and South Gujarat; longest coastline in India (about 1,600 km) | Kutch Zone V; much of state III-IV | Parks at Charanka (Patan), Khavda (Kutch), Dholera; strong grid and roads; ports at Mundra and Kandla
Rajasthan | State | 342200 | 23.0 - 30.1 | Jodhpur (26.24 N, 73.02 E), about 230 m | Thar Desert (Jaisalmer, Bikaner, Barmer, Jodhpur); Aravalli Range; eastern plains; Hadoti plateau (Kota) | Mostly II-III; small parts IV | Largest state; vast sparsely populated land for utility parks (Bhadla, Jodhpur, Jaisalmer, Pokaran); remote sites need transmission evacuation
Karnataka | State | 191800 | 11.5 - 18.5 | Bengaluru (12.97 N, 77.59 E), about 920 m | Coastal Karavali; Malnad (Western Ghats); Northern Interior (Raichur, Ballari, Koppal, Kalaburagi, Vijayapura); Southern Interior (Bengaluru, Mysuru, Tumakuru) | Mostly II-III | Pavagada Solar Park (Tumakuru); strong IT and industrial rooftop demand; port at Mangaluru
Telangana | State | 112100 | 15.8 - 19.9 | Hyderabad (17.39 N, 78.49 E), about 540 m | Deccan plateau, average elevation 500-600 m; Godavari and Krishna rivers; forested hills in north-east; rocky terrain near Hyderabad | Mostly II-III | Industrial and pharma base around Hyderabad; land in Mahabubnagar, Nalgonda, Khammam for utility scale; good NH and rail
Ladakh (Leh) | Union Territory (created 2019) | 59000 | 32 - 36 | Leh (34.15 N, 77.58 E), about 3,500 m | High-altitude cold desert between Karakoram and Great Himalaya; Indus valley; Zanskar, Ladakh and Karakoram ranges; Changthang and Pang plateaus | Zone IV-V (high) | Leh district about 45,000 km2; weak remote grid; hybrid solar + storage common; large-scale Pang renewable project planned (verify current status)

## Climate
Region | Climate type | Seasons | Summer highs | Winter lows | Rainfall | Monsoon period | Hazards
Maharashtra | Tropical wet-and-dry | Summer Mar-May; monsoon Jun-Sep; post-monsoon Oct-Nov; winter Dec-Feb | 35-42 C; Vidarbha (Nagpur, Chandrapur) 44-47 C | 8-15 C inland; 18-22 C coast | Konkan 2,000-3,000+ mm; Ghats crest 5,000+ mm; Marathwada/Solapur rain shadow 500-750 mm; Vidarbha 900-1,200 mm | Jun-Sep | Heavy monsoon cloud; coastal cyclones and humidity; summer heat in Vidarbha
Gujarat | Arid to semi-arid (north, Kutch); sub-humid (south) | Summer Mar-Jun; monsoon Jun-Sep; winter Nov-Feb | 40-47 C (Kutch, Ahmedabad, Surendranagar) | 8-15 C in north | Kutch 300-400 mm; North 500-700 mm; South 1,500-2,000 mm; state average about 800 mm | Jun-Sep | Arabian Sea cyclones; high winds; dust storms; salt corrosion on coast
Rajasthan | Hot desert (west); semi-arid (east) | Summer Mar-Jun; short weak monsoon Jul-Sep; winter Nov-Feb | 42-48 C; above 50 C recorded in the west | 0-8 C in Shekhawati and north; occasional frost | West below 250 mm (Jaisalmer 100-200 mm); East 600-800 mm; Mount Abu about 1,500+ mm | Jul-Sep | Dust and sandstorms (Apr-Jun); water scarcity; large day-night swing
Karnataka | Tropical; moderate at elevation | Summer Mar-May; monsoon Jun-Sep; winter Dec-Feb | Northern interior 38-43 C; Bengaluru about 35 C | Bengaluru about 15 C | Coast 3,000-4,000 mm; Malnad 2,000-3,000 mm; Northern Interior 500-700 mm (drought-prone); Southern Interior 700-900 mm | Jun-Sep | Heavy cloud on coast and Malnad; coastal humidity and salt; drought in north interior
Telangana | Semi-arid tropical | Summer Mar-Jun; monsoon Jun-Sep; winter Dec-Feb | 40-45 C; Ramagundam, Adilabad, Khammam up to 46-47 C | 12-16 C | About 900 mm average, about 80% from SW monsoon; North 1,000-1,200 mm; South about 700 mm | Jun-Sep | Heat waves Apr-Jun; occasional hailstorms and thunderstorms
Ladakh (Leh) | Cold desert; very dry, thin air, intense UV | Long cold winter Nov-Mar; short summer Jun-Sep | July highs about 25-30 C | January mean about -8 C; lows -20 C or below (Drass, Changthang about -30 C) | About 100 mm/year (Leh), mostly winter snow | Minimal | Snow cover on panels (Dec-Feb); strong afternoon winds; flash floods and cloudbursts; frozen cleaning water

## Solar & Design
Region | Solar resource notes | Large projects | Panel tilt and orientation | Soiling and cleaning | Temperature effects | Logistics and demand
Maharashtra | Best in dry interior (Marathwada, North Maharashtra, Solapur); lower on Konkan and Ghats. Peak Feb-May; lowest July. | Multiple parks in Dhule, Solapur, Marathwada | About 18-20 deg, south-facing | Moderate inland; summer dust; clean every 2-4 weeks in dry season; coastal salt needs corrosion-resistant mounting | Heat derating in Vidarbha summers | Strong rooftop demand in Pune, Nashik, Chhatrapati Sambhajinagar, Nagpur
Gujarat | Among India's strongest outside Rajasthan; high DNI in Kutch. Best Feb-May and Oct-Nov; weakest Jul-Aug. | Charanka Solar Park (Patan); Khavda hybrid park (Kutch); Dholera | About 20-23 deg, south-facing | High in Kutch and Saurashtra (dust, salt); anti-corrosion and high wind-load rating on coast | Heat derating in summer | Industrial hubs Ahmedabad, Surat, Vadodara, Rajkot, Morbi; ports at Mundra and Kandla ease imports
Rajasthan | Highest in India; DNI above about 5.5 in west, good for CSP as well as PV; 300+ clear days. Best Mar-May and Oct; lowest Jul-Aug. | Bhadla Solar Park (Jodhpur); Jodhpur and Jaisalmer clusters; Pokaran | About 25-28 deg, south-facing | Very high; frequent cleaning needed but water scarce; consider waterless or robotic cleaning | Significant derating May-June; bifacial modules and ventilation help | Remote sites need transmission capacity; long road logistics to desert sites
Karnataka | Interior 5.2-5.8; coast and Malnad about 4.5-5.0 with strong monsoon dips. Best Feb-May; worst Jun-Sep. | Pavagada Solar Park (Tumakuru); Raichur, Koppal, Kalaburagi clusters | About 12-15 deg, south-facing | Moderate in interior; coastal humidity and salt corrosion | Moderate temperatures at Bengaluru elevation reduce heat losses | IT and industrial hubs Bengaluru, Hubballi-Dharwad, Mysuru, Mangaluru; good roads and Mangaluru port
Telangana | Fairly uniform 5.3-5.8. Best Feb-May; weakest Jul-Aug. | Mahabubnagar, Nalgonda, Khammam clusters | About 15-18 deg, south-facing | Moderate dust in dry season; monsoon rain helps natural cleaning | Summer heat derating; check module temperature coefficient | Strong pharma and industrial base around Hyderabad; good NH and rail connectivity
Ladakh (Leh) | Very clear skies, thin atmosphere, high DNI; best Mar-Oct; weaker Dec-Jan (low sun, snow). | Pang-area large-scale renewable project planned (verify current status with MNRE/SECI) | Steeper 30-40 deg for snow shedding; elevate structures above snow level | Low soiling, but fine dust and snow-melt residue; water can freeze | Cold raises module efficiency; use low-temperature rated components and cables | Highways open only part of year (roughly May/Jun-Oct/Nov; Zojila and Baralacha closed in winter); Leh airport year round; weak grid, so hybrid solar + battery

## Notes & Sources
Item | Detail
Status | Approximate values compiled for project use; not extracted from official datasets.
Verify against | Global Solar Atlas (globalsolaratlas.info); NASA POWER; IMD climate normals; NIWE Solar Radiation Atlas; BIS seismic zoning map.
Access date | ____ (fill in when verified)
Ladakh | Union Territory created in 2019, not a state; Leh is the largest district.
Representative cities | One city per region is used for NASA POWER lookups in the agent (see COORDS in agent.py); results do not represent the whole region.
GHI | Global horizontal irradiance, kWh/m2/day. Ranges reflect variation across each region.
Specific yield | kWh generated per kWp installed per year; depends on tilt, losses, temperature and soiling.
Tilt | Rule of thumb: about latitude minus a few degrees, south-facing.